## Sheet1
Contact: Lia Perroud <lperroud@windharvest.com>
Country: Indonesia
Wind Farm Data - Including Location, Mid-Level Wind Speeds, and Turbine Details
as of (11/2/2023)
The wind farm data comes from The Wind Power
The average annual wind speed and wind shear data comes from UL Solutions Windnavigator
Note: Wind speeds are from one spot on the wind farm. They do not show the variability of wind across the entire site, and may not be as accurate as what could be produced by a more thorough wind evaluation.
Copyright: Creative Commons BY-SA
Summary Table
Total Power (MW) |  |  |  | 147.8
Total Power at Wind Farms with 20m Wind Speeds > 6.5 m/s (MW) |  |  |  | 147
State Code | City | Name | Latitude | Longitude | 80m wind speed (windiest spot) | 20m wind speed (windiest spot) | Ave 20m wind speed | Wind Shear | Number of turbines | Total power (kW) | Manufacturer | Turbine | Hub height | Developer | Operator | Owner | Commissioning date
Jawa Timur (Jawa) | Bondowoso | Bondowoso | -7.9966 | 113.7929 |  |  |  |  | 1 | 800 | Enercon | E53/800 | #ND | Enercon | #ND | Indah Karya | #ND
Sulawesi Selatan (Sulawesi) | #ND | Sidrap | -3.9873 | 119.7115 | 8.31 | 7.4 | 6.8 |  | 30 | 75000 | Gamesa | G114/2500 | 80 | UPC Renewables | #ND | UPC Renewables/PT Binatek/AC Energy | 2018/04
Sulawesi Selatan (Sulawesi) | #ND | Tolo 1 | -5.6515 | 119.7615 | 8.09 | 6.7 | 6.5 |  | 20 | 72000 | Siemens | SWT-3.6-130 | 135 | Vena Energy | Vena Energy | Vena Energy | #ND