## Sheet1
Contact: Lia Perroud <lperroud@windharvest.com>
Wind Farm Data - Including Location, Mid-Level Wind Speed, and Turbine Details
Country: Turkey
as of (11/1/2023)
The wind farm data comes from The Wind Power
The average annual wind speed and wind shear data comes from UL Solutions Windnavigator
Note: Wind speeds are from one spot on the wind farm. They do not show the variability of wind across the entire site, and may not be as accurate as what could be produced by a more thorough wind evaluation.
Copyright: Creative Commons BY-SA
Summary Table
Total Power (MW) |  |  |  | 8250.695
Total Power at Wind Farms with 20m Wind Speeds > 6.5 m/s (MW) |  |  |  | 1048.25
State Code | City | Name | Latitude | Longitude | 80m wind speed (windiest spot) | 20m wind speed (windiest spot) | 15m wind speed | Wind Shear | Number of turbines | Total power (kW) | Wind Direction (UL AWS) | Manufacturer | Turbine | Hub height | Developer | Operator | Owner | Commissioning date
Manisa | #ND | Sayalar | 39.1937 | 27.9569 | 11.22 | 10.1203 | 9.89 | 0.08 | 38 | 30400 | Directional | Enercon | E48/800 | 55 | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2008/06
Manisa | #ND | Sayalar | 39.1937 | 27.9569 | 11.22 | 10.1203 | 9.89 | 0.08 | #ND | 26800 | Directional | Enercon | #ND | #ND | #ND | #ND | #ND | 2013
Aydin | #ND | Akbük | 37.4503 | 27.3871 | 10.29 | 9.8749 | 9.79 | 0.03 | 15 | 31500 | Semi Directional | Suzlon | S88/2100 | 80 | Ayen | Ayen | Ayen | 2009/02
Adiyaman | #ND | Sincik | 38.0496 | 38.5967 | 9.51 | 9.3469 | 9.32 | 0.01 | 11 | 27500 | Directional | Nordex | N100/2500 | #ND | #ND | #ND | #ND | 2013
Balikesir | #ND | Bandirma | 40.3683 | 28.069 | 9.8 | 8.8362 | 8.66 | 0.07 | 20 | 30000 | Directional | GE Energy | 1.5sl | 55 | Bares A.S./Bilgin Enerji | Yapisan | #ND | 2006
Balikesir | #ND | Keltepe | 39.9639 | 28.0403 | 9.94 | 8.6966 | 8.45 | 0.1 | 23 | 20700 | Bi Directional | Enercon | E44/900 | #ND | Demirer Holding | Alize | Demirer Holding | 2008/05
Izmir | #ND | Bergama | 38.9176 | 27.1824 | 9.7 | 8.2675 | 8.01 | 0.11 | 36 | 90000 | Directional | Nordex | N90/2500 | 80 | Bilgin Enerji | Bilgin Enerji | #ND | 2007
Izmir | #ND | Bergama | 39.1167 | 27.1833 | 9.7 | 8.2675 | 8.01 | 0.11 | 10 | 30000 | Directional | Nordex | N117/3000 | #ND | Bilgin Enerji | Bilgin Enerji | #ND | 2016/06
Izmir | #ND | Bergama | 39.1167 | 27.1833 | 9.7 | 8.2675 | 8.01 | 0.11 | 22 | 70400 | Directional | GE Energy | 3.2-103 | #ND | Dost Enerji | #ND | #ND | 2017/07
Izmir | #ND | Bergama | 39.1167 | 27.1833 | 9.7 | 8.2675 | 8.01 | 0.11 | 7 | 25200 | Directional | Nordex | N131/3600 | #ND | #ND | #ND | #ND | 2018
Aydin | Milas | Turguttepe | 37.4531 | 27.794 | 9.57 | 8.2335 | 8 | 0.1 | 12 | 24000 | Semi Directional | Vestas | V90/2000 | #ND | Sabas Elektrik Üretim | Elawan | Elawan | 2010/12
Edirne | Enez | Enez | 40.7205 | 26.1826 | 9.15 | 8.1965 | 8.01 | 0.08 | 6 | 15000 | Directional | Nordex | N90/2500 | 80 | BOREAS | #ND | #ND | 2008
Edirne | Enez | Enez | 40.7205 | 26.1826 | 9.15 | 8.1965 | 8.01 | 0.08 | 2 | 6600 | Directional | Nordex | N100/3300 | #ND | BOREAS | #ND | #ND | 2016
Mugla | #ND | Akbük II | 37.4168 | 27.4866 | 9.03 | 7.9635 | 7.76 | 0.09 | 10 | 21000 | Semi Directional | Suzlon | S95/2100 | 80 | RES | RES | Ayen | 2016/02
Izmir | #ND | Kozbeyli | 38.7114 | 26.8666 | 9.3 | 7.8773 | 7.61 | 0.12 | 15 | 30000 | Semi Directional | Enercon | E70/2000 | #ND | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2012/12
Izmir | #ND | Kozbeyli | 38.7114 | 26.8666 | 9.3 | 7.8773 | 7.61 | 0.12 | 2 | 4700 | Semi Directional | Enercon | E92/2350 | #ND | Demirer Holding | #ND | #ND | 2013
Izmir | #ND | Zeytineli II | 38.2591 | 26.4732 | 9.04 | 7.6289 | 7.37 | 0.12 | 14 | 35000 | Directional | Nordex | N100/2500 | 80 | Yapisan/Bilgin Enerji | Bilgin Enerji | #ND | 2013/05
Izmir | #ND | Zeytineli II | 38.2591 | 26.4732 | 9.04 | 7.6289 | 7.37 | 0.12 | 6 | 15000 | Directional | Nordex | N90/2500 | 80 | Yapisan/Bilgin Enerji | Bilgin Enerji | #ND | 2013/05
Mersin | #ND | Dagpazari | 36.7686 | 33.4118 | 8.56 | 7.5941 | 7.4 | 0.09 | 13 | 39000 | Bi Directional | Siemens | SWT-3.0-101 | #ND | EnerjiSA | EnerjiSA | Sabanci/Verbund | 2011
Izmir | Germiyan | Germiyan | 38.3142 | 26.466 | 8.87 | 7.515 | 7.26 | 0.12 | 6 | 12000 | Directional | Enercon | E82/2000 | #ND | Egenda Ege Enerji | Karesi Enerji | #ND | 2016/06
Aydin | #ND | Akbük | 37.4637 | 27.4123 | 8.49 | 7.5109 | 7.34 | 0.08 | 4 | 9600 | Semi Directional | Nordex | N117/2400 | #ND | Suay Enerji | #ND | #ND | 2015
Aydin | #ND | Akbük | 37.4637 | 27.4123 | 8.49 | 7.5109 | 7.34 | 0.08 | 5 | 12000 | Semi Directional | Nordex | N117/2400 | #ND | Suay Enerji | #ND | #ND | 2018
Balikesir | #ND | Bandirma | 40.3658 | 28.148 | 9.54 | 7.4874 | 7.13 | 0.17 | 5 | 15000 | Directional | Vestas | V90/3000 | #ND | Bilgin Enerji | Borasco | #ND | 2010
Balikesir | #ND | Bandirma | 40.3658 | 28.148 | 9.54 | 7.4874 | 7.13 | 0.17 | 15 | 45000 | Directional | Vestas | V90/3000 | #ND | #ND | Borasco | #ND | 2009
Manisa | #ND | GERES | 39.208 | 27.8919 | 9.44 | 7.3719 | 7.02 | 0.17 | 12 | 30000 | Directional | Nordex | N90/2500 | #ND | Dost Enerji | #ND | #ND | 2014/05
Balikesir | #ND | Keltepe | 39.9551 | 28.0522 | 9.06 | 7.3504 | 7.04 | 0.15 | 1 | 2300 | Bi Directional | Enercon | E70/2300 | #ND | #ND | Alize | #ND | 2014
Balikesir | #ND | Keltepe | 39.9551 | 28.0522 | 9.06 | 7.3504 | 7.04 | 0.15 | 3 | 6900 | Bi Directional | Enercon | E70/2300 | #ND | #ND | Alize | #ND | 2016
Istanbul | #ND | Teperes | 41.0558 | 28.4442 | 8.84 | 7.3498 | 7.08 | 0.13 | 1 | 850 | Semi Directional | Vestas | V52/850 | #ND | #ND | Ertürk | #ND | 2006
Istanbul | #ND | Teperes Ext. | 41.0558 | 28.4442 | 8.84 | 7.3498 | 7.08 | 0.13 | 2 | 5000 | Semi Directional | Nordex | N90/2500 | #ND | #ND | Ertürk | #ND | 2016
Istanbul | Catalca | Catalca | 41.1462 | 28.4275 | 9.02 | 7.014 | 6.66 | 0.18 | 20 | 60000 | Semi Directional | Vestas | V90/3000 | #ND | Sanko Enerji | Ertürk | #ND | 2008
Istanbul | Catalca | Catalca | 41.1462 | 28.4275 | 9.02 | 7.014 | 6.66 | 0.18 | 10 | 33000 | Semi Directional | Vestas | V117/3300 | #ND | Sanko Enerji | #ND | #ND | 2016
Balikesir | Ayyildiz | Ayyildiz | 40.3598 | 27.8916 | 8.2 | 6.8939 | 6.66 | 0.12 | 5 | 15000 | Directional | Vestas | V90/3000 | #ND | #ND | AkEn | #ND | 2009
Balikesir | Ayyildiz | Ayyildiz | #ND | #ND | 8.2 | 6.8939 | 6.66 | 0.12 | 4 | 13200 | Directional | Vestas | V112/3300 | #ND | #ND | AkEn | #ND | 2016
Hatay | Atik Belen, Muhlisali | Atik Belen | 36.501 | 36.2061 | 7.72 | 6.7515 | 6.56 | 0.1 | 9 | 18000 | Bi Directional | Gamesa | G90/2000 | #ND | Aksa Enerji | #ND | #ND | 2014
|  | Ares | 38.2846 | 26.3964 | 8.15 | 6.7463 | 6.48 | 0.14 | 12 | 7200 | Semi Directional
Tokat | Tokat | Tokat | 40.1828 | 36.5501 | 7.74 | 6.7412 | 6.55 | 0.1 | 16 | 40000 | Semi Bi Directional | Nordex | N100/2500 | #ND | Iltek/Eksim Group | #ND | Tokat Enerji A.S. | 2011
Tokat | Tokat | Tokat | 40.1828 | 36.5501 | 7.74 | 6.7412 | 6.55 | 0.1 | 18 | 54000 | Semi Bi Directional | Nordex | N117/3000 | #ND | Eksim Group | #ND | #ND | 2017
Balikesir | #ND | Edincik | 40.3334 | 27.8371 | 8.2 | 6.7047 | 6.44 | 0.14 | 12 | 30000 | Directional | Nordex | N100/2500 | #ND | #ND | #ND | #ND | 2013/07
Izmir | #ND | Mare Manastir | 38.2836 | 26.4829 | 8.56 | 6.6893 | 6.37 | 0.17 | 49 | 39200 | Directional | Enercon | E48/800 | 55 | Demirer Holding | #ND | #ND | 2007
Izmir | #ND | Mare Manastir | 38.2836 | 26.4829 | 8.56 | 6.6893 | 6.37 | 0.17 | #ND | 17000 | Directional | Enercon | #ND | #ND | Demirer Holding | #ND | #ND | 2016
Canakkale | #ND | Bozcaada | 39.8332 | 25.9676 | 8.37 | 6.6578 | 6.34 | 0.17 | 17 | 10200 | Semi Directional | Enercon | E48/600 | #ND | Demirer Holding | Elektrik Üretim A.S. | #ND | 2000
Izmir | #ND | Ada RES | 37.8979 | 27.3232 | 7.58 | 6.4613 | 6.26 | 0.11 | 5 | 10000 | Semi Directional | Gamesa | G97/2000 | #ND | #ND | Elawan | Elawan | 2015/10
Afyon | Incesu | Incesu | 38.0979 | 30.3081 | 7.76 | 6.457 | 6.22 | 0.13 | 4 | 13200 | Varied | Vestas | V112/3300 | #ND | #ND | Tamyeli Enerji | #ND | 2014/10
Afyon | Incesu | Incesu | 38.0979 | 30.3081 | 7.76 | 6.457 | 6.22 | 0.13 | 8 | 16000 | Varied | Vestas | V100/2000 | 80 | #ND | Tamyeli Enerji | #ND | 2016
Istanbul | #ND | Sunjüt | 41.1323 | 28.6223 | 8 | 6.4525 | 6.18 | 0.15 | 2 | 1200 | Semi Directional | Enercon | E44/600 | #ND | Sunjüt | Sunjüt | #ND | 2006
Canakkale | #ND | Intepe | 40.0343 | 26.4009 | 7.8 | 6.3481 | 6.08 | 0.15 | 38 | 30400 | Semi Directional | Enercon | E48/800 | #ND | Demirer Holding | Demirer Holding | Anemon | 2007/03
Canakkale | #ND | Intepe | 40.0343 | 26.4009 | 7.8 | 6.3481 | 6.08 | 0.15 | 2 | 4600 | Semi Directional | Enercon | E82/2300 | #ND | Demirer Holding | Demirer Holding | Anemon | 2014
Canakkale | #ND | Intepe | 40.0343 | 26.4009 | 7.8 | 6.3481 | 6.08 | 0.15 | 9 | 20700 | Semi Directional | Enercon | E82/2300 | #ND | Demirer Holding | Demirer Holding | Anemon | 2016
Izmir | #ND | Yuntdag I | 38.9482 | 27.1882 | 8.06 | 6.3322 | 6.03 | 0.17 | 17 | 42500 | Directional | Nordex | N90/2500 | 80 | Dost Enerji | Innores Electric Üretim | #ND | 2008/03
Izmir | #ND | Yuntdag II | 38.9482 | 27.1882 | 8.06 | 6.3322 | 6.03 | 0.17 | 6 | 15000 | Directional | Nordex | N90/2500 | #ND | Dost Enerji | Innores Electric Üretim | #ND | 2011
Izmir | #ND | Yuntdag III | 38.9482 | 27.1882 | 8.06 | 6.3322 | 6.03 | 0.17 | 1 | 2500 | Directional | Nordex | N100/2500 | #ND | Dost Enerji | Innores Electric Üretim | #ND | 2014
Izmir | Yaylaköy | Yaylaköy RES | 38.5689 | 26.4254 | 8.06 | 6.2315 | 5.9 | 0.19 | 5 | 15000 | Semi Directional | Enercon | E82/3000 | #ND | Egenda Ege Enerji | Karesi Enerji | #ND | 2016/03
Manisa | #ND | Sayalar | 39.2022 | 27.9608 | 8.35 | 6.1718 | 5.81 | 0.21 | 10 | 20000 | Directional | Enercon | E82/2000 | #ND | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2013
Canakkale | #ND | Burgaz | 40.3871 | 26.5757 | 7.65 | 6.1046 | 5.83 | 0.16 | 5 | 4500 | Semi Directional | Enercon | E44/900 | 55 | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2007/08
Canakkale | #ND | Burgaz | 40.3871 | 26.5757 | 7.65 | 6.1046 | 5.83 | 0.16 | 13 | 10400 | Semi Directional | Enercon | E48/800 | 65 | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2007/08
Çorum | Yüksekyayla | Yüksekyayla | 40.0245 | 34.6718 | 6.85 | 6.0244 | 5.77 | 0.15 | 1 | 250 | Semi Bi Directional | Soyut Wind | Soyut Wind 250 | #ND | #ND | #ND | #ND | 2015/04
Canakkale | #ND | Mahmudiye | 39.8701 | 26.219 | 7.19 | 6.0003 | 5.78 | 0.13 | 13 | 29900 | Semi Directional | Siemens | SWT-2.3-101 | #ND | EnerjiSA | EnerjiSA | Sabanci/Verbund | 2010
Canakkale | #ND | Camseki | 39.8878 | 26.1829 | 7.34 | 5.9722 | 5.72 | 0.15 | 10 | 20000 | Semi Directional | Enercon | E82/2000 | #ND | Demirer Holding | Alize | #ND | 2009
Canakkale | #ND | Camseki | 39.8878 | 26.1829 | 7.34 | 5.9722 | 5.72 | 0.15 | 1 | 800 | Semi Directional | Enercon | E48/800 | #ND | Demirer Holding | Alize | #ND | 2009
Canakkale | #ND | Camseki | 39.8878 | 26.1829 | 7.34 | 5.9722 | 5.72 | 0.15 | 18 | 42300 | Semi Directional | Enercon | E92/2350 | #ND | Demirer Holding | Alize | #ND | 2018
Hatay | #ND | Senkoy | 36.0473 | 36.1259 | 7.62 | 5.7217 | 5.48 | 0.15 | 9 | 27000 | Bi Directional | Alstom Power | 100 | 90 | Güris | Eolos Rüz | #ND | 2012/05
Hatay | #ND | Senkoy | 36.0473 | 36.1259 | 7.62 | 5.7217 | 5.48 | 0.15 | 3 | 9000 | Bi Directional | Alstom Power | 110 | 75 | Güris | Eolos Rüz | #ND | 2014/08
Izmir | Karaköy | Mazi III | 38.2294 | 26.4434 | 7.94 | 5.7217 | 5.48 | 0.15 | 9 | 22500 | Directional | Nordex | N90/2500 | 80 | Rüzgar Enerjisi/Bilgin Enerji | Rüzgar Enerjisi | #ND | 2008/04
Izmir | Karaköy | Mazi III | 38.2294 | 26.4434 | 7.94 | 5.7217 | 5.48 | 0.15 | 3 | 7500 | Directional | Nordex | N90/2500 | 80 | Rüzgar Enerjisi/Bilgin Enerji | Rüzgar Enerjisi | #ND | 2011
Sivas | Karacayir | Karacayir RES | 39.9411 | 36.9895 | 6.8 | 5.6694 | 5.43 | 0.15 | 6 | 12600 | Varied | Gamesa | G114/2100 | #ND | ADO Enerji | #ND | #ND | 2016/06
Usak | #ND | Usak Res | 38.8158 | 29.95 | 6.78 | 5.6694 | 5.43 | 0.15 | 36 | 54000 | Semi Bi Directional | Sinovel | SL 1500/89 | 80 | #ND | #ND | #ND | 2013
Tekirdag | #ND | Sarikaya | 40.6227 | 26.9968 | 7.49 | 5.6277 | 5.39 | 0.15 | 14 | 28000 | Varied | Enercon | E70/2000 | #ND | Demirer Holding | Alize | #ND | 2009
Tekirdag | #ND | Sarikaya | 40.6227 | 26.9968 | 7.49 | 5.6277 | 5.39 | 0.15 | 1 | 800 | Varied | Enercon | E48/800 | #ND | Demirer Holding | Alize | #ND | 2009
Izmir | Mordogan | Mordogan | 38.5256 | 26.5745 | 7.45 | 5.6068 | 5.37 | 0.15 | 15 | 31500 | Semi Directional | Suzlon | S88/2100 | #ND | #ND | Ayen | Ayen | 2013/09
Manisa | Akishar | Akres | 38.9172 | 27.734 | 6.91 | 5.5024 | 5.27 | 0.15 | 18 | 45000 | Directional | Nordex | N90/2500 | #ND | Nordex | Karesi Enerji | #ND | 2000
Manisa | Akishar | Akres | 38.9172 | 27.734 | 6.91 | 5.5024 | 5.27 | 0.15 | 4 | 10000 | Directional | Nordex | N100/2500 | #ND | #ND | Karesi Enerji | #ND | 2018
Istanbul | #ND | Canta | 41.136 | 28.0528 | 7.25 | 5.3249 | 5.1 | 0.15 | 19 | 47500 | Semi Directional | Nordex | N100/2500 | 100 | #ND | #ND | #ND | 2014/05
Istanbul | #ND | Canta RES Ext | 41.136 | 28.0528 | 7.25 | 5.3249 | 5.1 | 0.15 | 2 | 7200 | Semi Directional | Nordex | N131/3600 | #ND | #ND | #ND | #ND | #ND
Manisa | #ND | Karakurt | 38.92 | 27.84 | 6.58 | 5.304 | 5.08 | 0.15 | 6 | 12000 | Directional | Vestas | V90/2000 | #ND | #ND | Deniz | #ND | 2007
Bilecik | #ND | Metristepe | 39.9343 | 30.1635 | 6.78 | 5.2936 | 5.07 | 0.15 | 16 | 40000 | Semi Directional | Nordex | N100/2500 | #ND | CAN Enerjii | CAN Enerjii | #ND | 2011
Izmir | #ND | Düzova | 39.041 | 27.0222 | 6.67 | 5.2175 | 4.94 | 0.19 | 4 | 11000 | Directional | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/03
Izmir | #ND | Düzova | 39.041 | 27.0222 | 6.67 | 5.2025 | 4.94 | 0.18 | 2 | 5500 | Directional | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2013/05
Izmir | #ND | Düzova | 39.041 | 27.0222 | 6.67 | 5.1876 | 4.94 | 0.17 | 2 | 5500 | Directional | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2013/02
Izmir | #ND | Düzova | 39.041 | 27.0222 | 6.67 | 5.1727 | 4.94 | 0.16 | 6 | 15000 | Directional | GE Energy | 2.5-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2010/09
Izmir | #ND | Düzova | 39.041 | 27.0222 | 6.67 | 5.1578 | 4.94 | 0.15 | 6 | 15000 | Directional | GE Energy | 2.5-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2009/08
Tekirdag | Balabanli | Balabanli | 41.095 | 27.6256 | 6.82 | 5.1056 | 4.89 | 0.15 | 22 | 50600 | Semi Directional | Siemens | SWT-2.3-108 | #ND | RES | Borusan EnBW Enerji | Borusan EnBW Enerji | 2014/07
Tekirdag | Balabanli | Balabanli | 41.095 | 27.6256 | 6.82 | 5.1056 | 4.89 | 0.15 | 10 | 36000 | Semi Directional | Siemens | SWT-3.6-130 | #ND | #ND | #ND | #ND | 2017/02
Manisa | Akhisar | Gok II | 39.0597 | 27.7794 | 6.79 | 4.9803 | 4.77 | 0.15 | 13 | 35750 | Directional | GE Energy | 2.75-103 | #ND | Gama Enerji | Garet | #ND | 2014/08
Amasya | Kayadüzü | Amasya | 40.9347 | 35.5127 | 6.56 | 4.9386 | 4.73 | 0.15 | 16 | 40000 | Bi Directional | Nordex | N100/2500 | #ND | Eksim Group | #ND | Merzifon Enerji A.S. | 2008
Istanbul | #ND | Kemerburgaz | 41.2446 | 28.6894 | 7.18 | 4.9177 | 4.71 | 0.15 | 12 | 24000 | Semi Bi Directional | Enercon | E82/2000 | #ND | Lodos Elektrik | #ND | #ND | 2008/03
Kirklareli | Kiyikoy | Kiyikoy | 41.5148 | 28.0085 | 7.2 | 4.6776 | 4.48 | 0.15 | 15 | 45000 | Semi Bi Directional | Nordex | N117/3000 | 91 | #ND | #ND | #ND | 2015/10
Aydin | #ND | Madranbaba | 37.6443 | 28.191 | 6.18 | 4.3748 | 4.19 | 0.15 | 10 | 20000 | Varied | Gamesa | G90/2000 | #ND | Kiroba Elektrik | Kiroba Elektrik | Kiroba Elektrik | 2013/07
Kahramanmaras | Dilek | Dilek | 37.5449 | 36.4591 | 5.65 | 4.2286 | 4.05 | 0.15 | 10 | 24000 | Bi Directional | Nordex | N117/2400 | 81 | #ND | #ND | Kale Enerji | 2015/08
Hatay | #ND | Senbük | 36.4449 | 36.2305 | 5.91 | 4.211 | 4.01 | 0.17 | 7 | 23100 | Semi Bi Directional | Vestas | V112/3300 | #ND | Tefirom Group/Wind Prospect | #ND | #ND | 2014/05
Hatay | #ND | Senbük | 36.4449 | 36.2305 | 5.91 | 4.1989 | 4.01 | 0.16 | 5 | 15000 | Semi Bi Directional | Vestas | V90/3000 | 84 | Tefirom Group/Wind Prospect | #ND | #ND | 2010
Hatay | #ND | Senbük | 36.4449 | 36.2305 | 5.91 | 4.1868 | 4.01 | 0.15 | 9 | 27000 | Semi Bi Directional | Vestas | V112/3000 | 84 | Tefirom Group/WPO | Yeni Belen Enerji | #ND | 2013/06
Hatay | #ND | Belen | 36.4775 | 36.201 | 7.08 | 0.32554 | 0.31 | 0.17 | 4 | 12000 | Bi Directional | Vestas | V90/3000 | 80 | Güris | BELEN Elektrik | BELEN Elektrik | 2012/06
Hatay | #ND | Belen | 36.4775 | 36.201 | 7.08 | 0.3246 | 0.31 | 0.16 | 2 | 6000 | Bi Directional | Vestas | V90/3000 | 80 | Güris | BELEN Elektrik | BELEN Elektrik | 2010
Hatay | #ND | Belen | 36.4775 | 36.201 | 7.08 | 0.32367 | 0.31 | 0.15 | 10 | 30000 | Bi Directional | Vestas | V90/3000 | 80 | Güris | BELEN Elektrik | BELEN Elektrik | 2009
Afyon | #ND | Dinar 1 | 38.0718 | 30.1655 |  |  |  |  | 22 | 50600 |  | Siemens | SWT-2.3-108 | 80 | Güris | Olgu | #ND | 2012
Afyon | #ND | Dinar 2 | 38.0718 | 30.1655 |  |  |  |  | 12 | 27600 |  | Siemens | SWT-2.3-108 | 80 | Güris | Olgu | #ND | 2013
Afyon | #ND | Dinar 3 | 38.0718 | 30.1655 |  |  |  |  | 16 | 36800 |  | Siemens | SWT-2.3-108 | 80 | Güris | Olgu | #ND | 2013
Afyon | #ND | Dinar 4 | 38.0718 | 30.1655 |  |  |  |  | 28 | 77000 |  | GE Energy | 2.75-100 | #ND | Güris | Olgu | #ND | 2016
Afyon | #ND | Dinar 4 | 38.0718 | 30.1655 |  |  |  |  | 3 | 8250 |  | GE Energy | 2.75-100 | #ND | Güris | #ND | #ND | #ND
Amasya | #ND | ArzuRES | #ND | #ND |  |  |  |  | 1 | 3600 |  | Vestas | V136/3450 | #ND | #ND | Hirka Rüzgar Enerji Santrali | #ND | 2018
Amasya | #ND | ArzuRES | #ND | #ND |  |  |  |  | 2 | 7200 |  | Vestas | V136/3450 | #ND | #ND | Hirka Rüzgar Enerji Santrali | #ND | #ND
Amasya | Kayadüzü | Amasya | 40.8886 | 35.596 |  |  |  |  | 13 | 42900 |  | Vestas | V126/3300 | #ND | Sehzade Enerji | Sehzade Enerji | #ND | 2016/06
Amasya | Kayadüzü | Amasya | 40.8886 | 35.596 |  |  |  |  | 1 | 3300 |  | Vestas | V126/3300 | #ND | Sehzade Enerji | Sehzade Enerji | #ND | 2016/06
Amasya | Kayadüzü | Amasya | 40.8896 | 35.5885 |  |  |  |  | 14 | 42000 |  | Nordex | N117/3000 | #ND | Eksim Group | #ND | #ND | 2017
Antalya | #ND | Dökükdagi | #ND | #ND |  |  |  |  | #ND | 30000 |  | #ND | #ND | #ND | #ND | Karesi Enerji | #ND | #ND
Aydin | #ND | Söke-Catalbük | 37.85 | 27.85 |  |  |  |  | 15 | 30000 |  | Gamesa | G90/2000 | 78 | ABK Enerji | #ND | #ND | 2010
Aydin | Ova | Ova | #ND | #ND |  |  |  |  | 9 | 18000 |  | Gamesa | G97/2000 | #ND | #ND | #ND | #ND | 2016
Aydin | Söke | Söke | 37.752 | 27.4057 |  |  |  |  | 15 | 49500 |  | Vestas | V112/3300 | 84 | Aydem Renewables | #ND | #ND | 2015
Aydin | Yenihisar | Yenihisar | 37.3861 | 27.2556 |  |  |  |  | 9 | 21600 |  | Nordex | N117/2400 | #ND | #ND | Yeni Belen Enerji | Türkerler Holding | 2018
Balikesir | #ND | Bandirma | 40.35 | 27.97 |  |  |  |  | 2 | 5000 |  | Nordex | N90/2500 | 80 | Yapisan/Bilgin Enerji | Yapisan | #ND | 2012
Balikesir | #ND | Pasalimani | 40.4739 | 27.6141 |  |  |  |  | 1 | 800 |  | Enercon | E53/800 | #ND | #ND | #ND | #ND | 2013/11
Balikesir | #ND | Samli | 39.9093 | 27.8941 |  |  |  |  | 30 | 90000 |  | Vestas | V90/3000 | #ND | Aksa Enerji | Borasco | #ND | 2010
Balikesir | #ND | SahRes | #ND | #ND |  |  |  |  | 35 | 105000 |  | Vestas | V90/3000 | 80 | Galata Wind | #ND | #ND | 2013/05
Balikesir | #ND | Kapidag | 40.4595 | 27.8517 |  |  |  |  | 12 | 24000 |  | Vestas | V80/2000 | #ND | #ND | Kapidag | #ND | 2013
Balikesir | #ND | Cataltepe | 39.56 | 27.1 |  |  |  |  | 8 | 16000 |  | Enercon | E82/2000 | #ND | #ND | Alize | #ND | 2010
Balikesir | #ND | Balikesir | 39.6484 | 27.8826 |  |  |  |  | 52 | 143000 |  | GE Energy | 2.75-103 | 85 | Bares A.S./EnerjiSA | Bares A.S. | #ND | 2012
Balikesir | #ND | Samli | 39.9093 | 27.8941 |  |  |  |  | 13 | 23400 |  | Vestas | V90/1800 | #ND | Yapisan/Aksa Enerji | Yapisan | #ND | 2008
Balikesir | #ND | Bandirma | 40.35 | 27.97 |  |  |  |  | 10 | 25000 |  | Nordex | N90/2500 | 80 | AS Makinsan | AS Makinsan | AS Makinsan | 2008
Balikesir | #ND | Susurluk I | 39.91 | 28.16 |  |  |  |  | 3 | 7500 |  | Nordex | N90/2500 | #ND | Iltek/Eksim Group | #ND | #ND | 2012
Balikesir | #ND | Günaydin | #ND | #ND |  |  |  |  | 5 | 12500 |  | GE Energy | 2.5-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2012/11
Balikesir | #ND | Günaydin | #ND | #ND |  |  |  |  | 3 | 8250 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014
Balikesir | #ND | Bandirma | 40.35 | 27.97 |  |  |  |  | 8 | 26400 |  | Vestas | V112/3300 | #ND | #ND | Borasco | #ND | 2014
Balikesir | #ND | Kapidag | 40.4595 | 27.8517 |  |  |  |  | 2 | 4000 |  | Vestas | V80/2000 | #ND | #ND | Kapidag | #ND | 2014
Balikesir | #ND | Bandirma | 40.35 | 27.97 |  |  |  |  | 1 | 3300 |  | Vestas | V112/3300 | #ND | #ND | Borasco | #ND | 2014
Balikesir | #ND | Bandirma | 40.35 | 27.97 |  |  |  |  | 7 | 16800 |  | Nordex | N117/2400 | #ND | AS Makinsan | AS Makinsan | AS Makinsan | 2016
Balikesir | #ND | Edincik | 40.3424 | 27.8619 |  |  |  |  | 11 | 26400 |  | Nordex | N117/2400 | #ND | #ND | Edincik Enerji | #ND | 2015/05
Balikesir | #ND | Poyrazgolu | #ND | #ND |  |  |  |  | 15 | 34500 |  | Enercon | E82/2300 | #ND | Demirer Holding | #ND | #ND | 2015
Balikesir | #ND | Ada 2 RES | #ND | #ND |  |  |  |  | 2 | 4600 |  | Enercon | E70/2300 | #ND | #ND | #ND | #ND | 2015/10
Balikesir | #ND | Cataltepe | 39.56 | 27.1 |  |  |  |  | 4 | 12000 |  | Nordex | N117/3000 | #ND | Super Elektrik | #ND | #ND | 2016/06
Balikesir | #ND | Bandirma | 40.35 | 27.97 |  |  |  |  | 7 | 17500 |  | Nordex | N90/2500 | #ND | Yapisan | Yapisan | #ND | 2012
Balikesir | #ND | Edincik Extension 2 | 40.3424 | 27.8619 |  |  |  |  | 7 | 21000 |  | Nordex | N117/3000 | #ND | #ND | Edincik Enerji | #ND | 2016
Balikesir | #ND | Susurluk I | 39.91 | 28.16 |  |  |  |  | 15 | 37500 |  | Nordex | N100/2500 | #ND | Iltek/Eksim Group | #ND | #ND | 2012
Balikesir | #ND | Susurluk II | 39.91 | 28.16 |  |  |  |  | 6 | 15000 |  | Nordex | N100/2500 | #ND | Iltek/Eksim Group | #ND | #ND | 2014/06
Balikesir | #ND | Susurluk III | 39.91 | 28.16 |  |  |  |  | 5 | 15000 |  | Nordex | N117/3000 | #ND | Eksim Group | #ND | #ND | 2017/07
Balikesir | #ND | Umurlar | 39.3183 | 28.2826 |  |  |  |  | 8 | 26400 |  | Vestas | V126/3300 | #ND | Elfa Elektrik Uertim | #ND | #ND | 2017/07
Balikesir | #ND | Poyrazgolu | #ND | #ND |  |  |  |  | #ND | 14000 |  | Enercon | #ND | #ND | Demirer Holding | #ND | #ND | 2018
Balikesir | Alibey | Alibey RES | 39.8698 | 28.0466 |  |  |  |  | 5 | 18000 |  | Nordex | N117/3600 | #ND | #ND | #ND | #ND | 2018
Balikesir | Alibey | Alibey RES | 39.8698 | 28.0466 |  |  |  |  | 4 | 12000 |  | Nordex | N117/3000 | #ND | #ND | #ND | #ND | 2018
Balikesir | Kalfaköy | Kalfaköy | 39.8907 | 28.2343 |  |  |  |  | 6 | 10200 |  | GE Energy | 1.7-103 | #ND | #ND | #ND | Türkerler Holding | 2018
Balikesir | Kavakli | Kavakli RES | 39.7307 | 27.8657 |  |  |  |  | 16 | 52800 |  | Vestas | V112/3300 | #ND | #ND | #ND | #ND | 2014/08
Balikesir | Kepsut | Poyraz | 39.6889 | 28.1458 |  |  |  |  | 27 | 54000 |  | Enercon | E70/2000 | #ND | Polat Enerji | EDF renewables | Poyraz Enerji Elektrik Demirer/Polat Enerji/EDF renewables | 2012
Balikesir | Kepsut | Poyraz | 39.6889 | 28.1458 |  |  |  |  | 1 | 900 |  | Enercon | E44/900 | #ND | Polat Enerji | EDF renewables | Poyraz Enerji Elektrik Demirer/Polat Enerji/EDF renewables | 2012
Balikesir | Kepsut | Poyraz | 39.6889 | 28.1458 |  |  |  |  | 11 | 22000 |  | Enercon | #ND | #ND | Polat Enerji | #ND | Poyraz Enerji Elektrik Demirer/Polat Enerji/EDF renewables | 2016
Balikesir | Kepsut | Poyraz | 39.6889 | 28.1458 |  |  |  |  | 10 | 32000 |  | Siemens | SWT-3.2-108 | #ND | #ND | #ND | #ND | 2016/06
Balikesir | Ortamandira | Ortamandira | 39.6306 | 27.8009 |  |  |  |  | 7 | 11200 |  | GE Energy | 1.6-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2015
Balikesir | Tatlipinar | Tatlipinar RES | 39.7805 | 27.7884 |  |  |  |  | 32 | 124800 |  | Nordex | N131/3900 | #ND | #ND | #ND | #ND | #ND
Balikesir | Umurlar | Umurlar | 39.318 | 28.2862 |  |  |  |  | 5 | 10000 |  | Vestas | V100/2000 | #ND | Elfa Elektrik Uertim | #ND | #ND | 2014/09
Bursa | #ND | Harmanlik | #ND | #ND |  |  |  |  | 16 | 52800 |  | Vestas | V112/3300 | 84 | #ND | Eskoda Enerji | Borusan EnBW Enerji | 2015/06
Bursa | #ND | Kürekdagi | #ND | #ND |  |  |  |  | 10 | 36000 |  | Nordex | N117/3600 | 106 | Agaoglu | #ND | #ND | 2017
Bursa | Aydinpinar | Mudanya | 40.3182 | 28.9177 |  |  |  |  | 1 | 320 |  | Northel Enerji | Poyra P36/300 | #ND | #ND | #ND | #ND | 2017
Bursa | Gündogdu | Gündogdu | 40.334 | 29.0262 |  |  |  |  | 4 | 9600 |  | Nordex | N117/2400 | #ND | #ND | #ND | #ND | 2016
Bursa | Karacabey | Karacabey RES | 40.216 | 28.359 |  |  |  |  | 12 | 30000 |  | Nordex | N100/2500 | #ND | #ND | #ND | #ND | 2016
Canakkale | #ND | AyRES | #ND | #ND |  |  |  |  | 3 | 5400 |  | Vestas | V90/1800 | #ND | #ND | #ND | #ND | 2011
Canakkale | #ND | Sares | #ND | #ND |  |  |  |  | 10 | 27500 |  | GE Energy | 2.75-100 | #ND | Gama Enerji | Garet | #ND | 2014/03
Canakkale | #ND | Sadilli | 40.6964 | 26.841 |  |  |  |  | 5 | 13750 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/11
Canakkale | #ND | Sadilli | 40.6964 | 26.841 |  |  |  |  | 3 | 8250 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/10
Canakkale | #ND | Sadilli | 40.6964 | 26.841 |  |  |  |  | 6 | 16500 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/12
Canakkale | #ND | Goztepe | 39.838 | 26.0543 |  |  |  |  | 1 | 3400 |  | Senvion | 3.4M114 | #ND | #ND | #ND | #ND | #ND
Canakkale | #ND | Seyit Onbasi RES | #ND | #ND |  |  |  |  | 2 | 4000 |  | Vestas | V100/2000 | #ND | #ND | #ND | #ND | 2018
Canakkale | #ND | Hasanoba RES | #ND | #ND |  |  |  |  | 15 | 51000 |  | Siemens-Gamesa | #ND | #ND | #ND | #ND | #ND | #ND
Canakkale | #ND | Maslaktepe RES | #ND | #ND |  |  |  |  | 6 | 23400 |  | Nordex | N131/3900 | #ND | #ND | #ND | #ND | #ND
Canakkale | Biga | Biga RES | 40.2265 | 27.2436 |  |  |  |  | 19 | 60800 |  | GE Energy | 3.2-103 | 85 | #ND | #ND | #ND | 2015/10
Canakkale | Kocalar | Kocalar RES | 40.0745 | 26.7617 |  |  |  |  | #ND | 27000 |  | Siemens-Gamesa | #ND | #ND | #ND | #ND | #ND | #ND
Canakkale | Koru | Koru | #ND | #ND |  |  |  |  | 16 | 52800 |  | Vestas | V112/3300 | 84 | Borusan EnBW Enerji | Eskoda Enerji | #ND | 2015/06
Canakkale | Üçpinar | Üçpinar RES | 40.1532 | 26.7146 |  |  |  |  | #ND | 99000 |  | Siemens-Gamesa | #ND | #ND | #ND | #ND | #ND | #ND
Denizli | #ND | Eber RES | #ND | #ND |  |  |  |  | 10 | 39000 |  | Nordex | N131/3900 | #ND | #ND | #ND | #ND | 2018
Denizli | #ND | Denizli RES | #ND | #ND |  |  |  |  | #ND | 66000 |  | Siemens-Gamesa | #ND | #ND | #ND | #ND | #ND | #ND
Edirne | #ND | Ipsala | 40.9159 | 26.3701 |  |  |  |  | 1 | 900 |  | EWT | Directwind 900/54 | #ND | #ND | #ND | #ND | 2016/05
Edirne | #ND | Kanije | #ND | #ND |  |  |  |  | 20 | 64000 |  | Siemens | SWT-3.2-113 | #ND | Güris | Derne En | #ND | 2016
Gaziantep | #ND | Kartaldagi | #ND | #ND |  |  |  |  | 19 | 65550 |  | Vestas | V126/3450 | #ND | #ND | #ND | #ND | 2017
Hatay | #ND | Sebenoba | 36.09 | 35.97 |  |  |  |  | 15 | 30000 |  | Vestas | V80/2000 | 67 | Windwärts/Aksa Enerji | Deniz | #ND | 2008
Hatay | #ND | Sebenoba | 36.09 | 35.97 |  |  |  |  | 10 | 30000 |  | Vestas | V112/3000 | #ND | Aksa Enerji | Deniz | #ND | 2015/02
Hatay | #ND | Karlitepe | #ND | #ND |  |  |  |  | #ND | 3000 |  | #ND | #ND | #ND | #ND | Karesi Enerji | #ND | #ND
Hatay | Cercikaya | Cercikaya | 36.4183 | 36.0905 |  |  |  |  | 19 | 57000 |  | Acciona | AW-3000/125 | 87.5 | #ND | #ND | #ND | 2015/01
Hatay | Samandag | Ziyaret Res | 36.0824 | 35.9993 |  |  |  |  | 14 | 35000 |  | GE Energy | 2.5xl | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2010/10
Hatay | Samandag | Ziyaret Res | 36.0824 | 35.9993 |  |  |  |  | 9 | 22500 |  | GE Energy | 2.5xl | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2011/11
Hatay | Samandag | Ziyaret Res | 36.0824 | 35.9993 |  |  |  |  | 3 | 7500 |  | GE Energy | 2.5xl | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/02
Hatay | Samandag | Ziyaret Res | 36.0824 | 35.9993 |  |  |  |  | 4 | 11000 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/05
Isparta | Uluborlu | Uluborlu | 38.0783 | 30.4509 |  |  |  |  | 5 | 8500 |  | GE Energy | 1.7-103 | #ND | Fina Enerji | Fina Enerji | #ND | 2016/04
Isparta | Uluborlu | Uluborlu | 38.0783 | 30.4509 |  |  |  |  | 9 | 15300 |  | GE Energy | 1.7-103 | #ND | Fina Enerji | Fina Enerji | #ND | 2016/05
Isparta | Uluborlu | Uluborlu | 38.0783 | 30.4509 |  |  |  |  | 10 | 17000 |  | GE Energy | 1.7-103 | #ND | Fina Enerji | Fina Enerji | #ND | 2016/06
Isparta | Uluborlu | Uluborlu | 38.0783 | 30.4509 |  |  |  |  | 12 | 20400 |  | GE Energy | 1.7-103 | #ND | Fina Enerji | Fina Enerji | #ND | 2016/07
Istanbul | #ND | Gazi RES | #ND | #ND |  |  |  |  | 2 | 6900 |  | Vestas | V126/3450 | #ND | #ND | #ND | #ND | 2018
Istanbul | #ND | Sakarbayir RES | #ND | #ND |  |  |  |  | 1 | 3450 |  | Vestas | V126/3450 | #ND | #ND | #ND | #ND | 2018
Istanbul | #ND | Yamaçtepe RES | #ND | #ND |  |  |  |  | 10 | 33000 |  | Siemens-Gamesa | #ND | #ND | Sancak Enerji | #ND | #ND | #ND
Istanbul | Siliviri | Siliviri | 41.0737 | 28.2479 |  |  |  |  | 18 | 45000 |  | Nordex | N100/2500 | 100 | Eksim Group | #ND | #ND | 2014
Istanbul | Siliviri | Siliviri | 41.0737 | 28.2479 |  |  |  |  | 5 | 18000 |  | Nordex | N131/3600 | #ND | #ND | #ND | #ND | 2018
Izmir | #ND | Bozyaka | #ND | #ND |  |  |  |  | 5 | 12500 |  | Nordex | N100/2500 | #ND | #ND | Kardemir Haddecilik | #ND | 2012
Izmir | #ND | Karaburun RES | 38.6442 | 26.5116 |  |  |  |  | 30 | 60000 |  | Enercon | E82/2000 | #ND | Lodos Elektrik | Lodos Elektrik | Lodos Elektrik | 2013
Izmir | #ND | Kores | #ND | #ND |  |  |  |  | 7 | 17500 |  | Nordex | N90/2500 | 80 | Dost Enerji | Kores Kocadag | #ND | 2012
Izmir | #ND | Salman | #ND | #ND |  |  |  |  | 9 | 24750 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/05
Izmir | #ND | Salman | #ND | #ND |  |  |  |  | 1 | 2750 |  | GE Energy | 2.75-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/06
Izmir | #ND | Pitane | #ND | #ND |  |  |  |  | 2 | 4800 |  | Nordex | N117/2400 | #ND | #ND | #ND | #ND | 2014
Izmir | #ND | Fuat | #ND | #ND |  |  |  |  | 6 | 19800 |  | Vestas | V112/3300 | #ND | #ND | FuatRES Elektrik | Borusan EnBW Enerji | 2015
Izmir | #ND | Kores | #ND | #ND |  |  |  |  | 3 | 7500 |  | Nordex | N100/2500 | #ND | #ND | Kores Kocadag | #ND | 2015
Izmir | #ND | Aliaga | 38.8045 | 26.9263 |  |  |  |  | 17 | 51000 |  | Alstom Power | 100 | #ND | #ND | #ND | #ND | 2016
Izmir | #ND | Ege RES | #ND | #ND |  |  |  |  | 4 | 9200 |  | Enercon | E70/2300 | #ND | #ND | #ND | #ND | 2015/10
Izmir | #ND | Fuat | #ND | #ND |  |  |  |  | 4 | 13200 |  | Vestas | V112/3300 | #ND | #ND | FuatRES Elektrik | Borusan EnBW Enerji | 2016
Izmir | #ND | Karaburun RES | 38.6442 | 26.5116 |  |  |  |  | 20 | 60000 |  | Enercon | E82/3000 | #ND | Lodos Elektrik | Lodos Elektrik | Lodos Elektrik | 2013
Izmir | #ND | Akça RES | #ND | #ND |  |  |  |  | 5 | 22500 |  | Nordex | N149/4.0-4.5 | #ND | #ND | Tan Elektrik | #ND | #ND
Izmir | #ND | Yahselli RES | #ND | #ND |  |  |  |  | 6 | 21600 |  | Nordex | N131/3600 | #ND | #ND | #ND | #ND | #ND
Izmir | #ND | Karaburun RES | 38.5766 | 26.4512 |  |  |  |  | 11 | 44000 |  | Enercon | E126/4000 | 86 | #ND | #ND | #ND | #ND
Izmir | #ND | Karaburun RES | 38.5766 | 26.4512 |  |  |  |  | 26 | 104000 |  | Enercon | E126/4000 | 116 | #ND | #ND | #ND | #ND
Izmir | Alaçati | Alaçati | 38.2887 | 26.3778 |  |  |  |  | 12 | 7200 |  | Vestas | V44/600 | #ND | #ND | Elektrik Üretim A.S. | #ND | 1998
Izmir | Alaçati | Alaçati | 38.2887 | 26.3778 |  |  |  |  | 8 | 16000 |  | Enercon | E82/2000 | #ND | Egenda Ege Enerji | Karesi Enerji | #ND | 2016/06
Izmir | Aliaga | Aliaga | 38.7996 | 26.9707 |  |  |  |  | 4 | 9600 |  | Nordex | N117/2400 | #ND | Aksa Enerji | Tan Elektrik | #ND | 2014/09
Izmir | Aliaga | Aliaga Exension | 38.7996 | 26.9707 |  |  |  |  | 4 | 9600 |  | Nordex | N117/2400 | #ND | Aksa Enerji | Tan Elektrik | #ND | 2016
Izmir | Bagarasi | Bagarasi | #ND | #ND |  |  |  |  | 20 | 48000 |  | Nordex | N117/2400 | 91 | #ND | #ND | Erdem Holding | 2015
Izmir | Bozyaka | Bozyaka | #ND | #ND |  |  |  |  | 2 | 4800 |  | Nordex | N117/2400 | #ND | #ND | Kardemir Haddecilik | #ND | 2016/06
Izmir | Bozyaka | Bozyaka | #ND | #ND |  |  |  |  | 1 | 2400 |  | Nordex | N117/2400 | #ND | #ND | Kardemir Haddecilik | #ND | 2016
Izmir | Cesme | Cesme | 38.2798 | 26.343 |  |  |  |  | 6 | 18000 |  | Nordex | N117/3000 | #ND | ABK Enerji | #ND | #ND | 2015/05
Izmir | Demircili | Demircili | 38.2159 | 27.9073 |  |  |  |  | 3 | 7500 |  | Nordex | N90/2500 | #ND | Rüzgar Enerjisi/Calik Energy | Rüzgar Enerjisi | #ND | 2016
Izmir | Demircili | Demircili | 38.2159 | 27.9073 |  |  |  |  | 13 | 32500 |  | Nordex | N100/2500 | #ND | Rüzgar Enerjisi/Calik Energy | Rüzgar Enerjisi | #ND | 2016
Izmir | Karabel | Karabel | 38.413 | 27.3975 |  |  |  |  | 1 | 3400 |  | Senvion | 3.4M104 | #ND | #ND | #ND | #ND | 2016
Izmir | Karaburun | Sarpincik WPP | 38.6124 | 26.4165 |  |  |  |  | 11 | 27500 |  | Nordex | N100/2500 | #ND | Calik Energy | #ND | #ND | 2017
Izmir | Karaburun | Sarpincik WPP | 38.6124 | 26.4165 |  |  |  |  | 2 | 5000 |  | Nordex | N90/2500 | #ND | Calik Energy | #ND | #ND | 2017
Izmir | Karadag | Karadag | #ND | #ND |  |  |  |  | 4 | 10000 |  | GE Energy | 2.5-100 | #ND | Gama Enerji | Garet | #ND | 2012
Izmir | Karadag | Karadag RES | #ND | #ND |  |  |  |  | 6 | 18000 |  | Nordex | N117/3000 | #ND | #ND | #ND | #ND | 2016
Izmir | Kinik | Kinik | 39.0859 | 27.3818 |  |  |  |  | 16 | 51200 |  | Siemens | SWT-3.2-108 | 79.5 | #ND | #ND | #ND | 2016/11
Izmir | Korkmaz | Korkmaz | #ND | #ND |  |  |  |  | 12 | 25200 |  | Suzlon | S88/2100 | #ND | #ND | Ayen | Ayen | 2014/08
Izmir | Mordogan | Mordogan | 38.5167 | 26.6 |  |  |  |  | 5 | 15000 |  | Enercon | E82/3000 | #ND | Egenda Ege Enerji | Karesi Enerji | #ND | 2016/06
Izmir | Odemis | Odemis | 38.2283 | 27.9748 |  |  |  |  | 7 | 21000 |  | Nordex | N117/3000 | 91 | #ND | #ND | Erdem Holding | 2015
Izmir | Odemis | Ödemis | 38.2325 | 27.9628 |  |  |  |  | 7 | 21000 |  | Nordex | N117/3000 | #ND | #ND | #ND | #ND | 2015
Izmir | Ovacik | Ovacik RES | 38.2823 | 26.3458 |  |  |  |  | 8 | 28800 |  | Nordex | N131/3600 | #ND | Eksim Group | #ND | #ND | #ND
Izmir | Samurlu | Samurlu | 38.7635 | 26.9897 |  |  |  |  | 15 | 30000 |  | Enercon | E70/2000 | #ND | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2012/08
Izmir | Samurlu | Samurlu | 38.7635 | 26.9897 |  |  |  |  | 4 | 13900 |  | Enercon | #ND | #ND | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2013
Izmir | Seferihisar | Seferihisar | 38.1951 | 26.8344 |  |  |  |  | 7 | 21000 |  | Nordex | N117/3000 | #ND | Agaoglu/Eksim Group | #ND | #ND | 2016/06
Izmir | Seferihisar | Seferihisar II | 38.1951 | 26.8344 |  |  |  |  | 7 | 21000 |  | Nordex | N117/3000 | #ND | Agaoglu | #ND | #ND | 2017
Izmir | Seyitali | Seyitali | #ND | #ND |  |  |  |  | 15 | 30000 |  | Enercon | E70/2000 | #ND | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2011/06
Izmir | Seyitali | Seyitali | #ND | #ND |  |  |  |  | #ND | 5500 |  | Enercon | #ND | #ND | Polat Enerji | #ND | #ND | 2016
Izmir | Seyitali | Seyitali | #ND | #ND |  |  |  |  | 3 | 6000 |  | Enercon | #ND | #ND | Polat Enerji/Demirer Holding | EDF renewables | EDF renewables | 2015
Izmir | Tire | Tire RES | 38.0895 | 27.7318 |  |  |  |  | 5 | 8500 |  | GE Energy | 1.7-103 | 80 | #ND | #ND | Türkerler Holding | 2016
Izmir | Tire | Tire RES | 38.0895 | 27.7318 |  |  |  |  | 9 | 28800 |  | GE Energy | 3.2-103 | 85 | #ND | #ND | Türkerler Holding | 2017
Izmir | Tire | Tire RES | 38.0895 | 27.7318 |  |  |  |  | 8 | 13600 |  | GE Energy | 1.7-103 | 80 | #ND | #ND | Türkerler Holding | 2017
Izmir | Urla | Urla RES | 38.325 | 26.7668 |  |  |  |  | 6 | 18000 |  | Nordex | N117/3000 | #ND | Sancak Enerji | #ND | #ND | 2016
Izmir | Urla | Urla RES | 38.325 | 26.7668 |  |  |  |  | 5 | 15000 |  | Enercon | E82/3000 | #ND | Egenda Ege Enerji | Karesi Enerji | #ND | 2016/06
Kahramanmaras | #ND | Cerit | #ND | #ND |  |  |  |  | 16 | 57600 |  | Nordex | N131/3600 | 84 | #ND | #ND | #ND | 2018
Kayseri | #ND | Aksu | #ND | #ND |  |  |  |  | 36 | 72000 |  | Vestas | V100/2000 | 80 | Ayen | Ayen | #ND | 2012
Kayseri | #ND | Kurtkayasi | #ND | #ND |  |  |  |  | 19 | 45600 |  | Nordex | N117/2400 | 91 | #ND | #ND | #ND | 2016/06
Kayseri | #ND | Zincirli | #ND | #ND |  |  |  |  | 5 | 12000 |  | Nordex | N117/2400 | #ND | #ND | #ND | #ND | 2016/06
Kayseri | #ND | Aksu RES Ext | #ND | #ND |  |  |  |  | 3 | 10200 |  | Goldwind | #ND | #ND | #ND | #ND | #ND | #ND
Kayseri | Yahyali | Yahyali | 38.0993 | 35.3579 |  |  |  |  | 22 | 52800 |  | Nordex | N117/2400 | #ND | Sancak Enerji | #ND | #ND | 2015
Kayseri | Yahyali | Yahyali | 38.0993 | 35.3579 |  |  |  |  | 24 | 79200 |  | Vestas | V126/3300 | #ND | Elawan | Elawan | Elawan | 2016/09
Kayseri | Yahyali | Yahyali | 38.0993 | 35.3579 |  |  |  |  | 1 | 3300 |  | Vestas | V126/3300 | #ND | Elawan | Elawan | Elawan | 2017/01
Kirklareli | #ND | Zeliha | #ND | #ND |  |  |  |  | 8 | 25600 |  | Siemens | SWT-3.2-113 | #ND | Güris | Derne En | #ND | 2016
Kirklareli | #ND | AirRES-4 | #ND | #ND |  |  |  |  | 19 | 60800 |  | Siemens | SWT-3.2-113 | #ND | #ND | #ND | #ND | 2017/03
Kirklareli | Karadere | Karadere | 41.9222 | 27.4376 |  |  |  |  | 7 | 11200 |  | GE Energy | 1.6-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/06
Kirklareli | Karadere | Karadere | 41.9222 | 27.4376 |  |  |  |  | 3 | 4800 |  | GE Energy | 1.6-100 | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2014/07
Kirklareli | Karadere | Karadere | 41.9222 | 27.4376 |  |  |  |  | 1 | 3200 |  | GE Energy | #ND | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2016
Kirklareli | Kiyikoy | Kiyikoy | 41.6385 | 28.09 |  |  |  |  | 14 | 28000 |  | Gamesa | G97/2000 | #ND | #ND | #ND | Borusan EnBW Enerji | 2014/08
Kirklareli | Süloglu | Süloglu | 41.7701 | 27.074 |  |  |  |  | 20 | 66000 |  | Vestas | V126/3300 | 117 | STEAG New Energies GmbH | STEAG New Energies GmbH | STEAG New Energies GmbH | 2015/12
Kirsehir | Geycek | Geycek | 39.1001 | 34.4767 |  |  |  |  | 29 | 58000 |  | Enercon | E82/2000 | 85 | Polat Enerji | EDF renewables | #ND | 2014
Kirsehir | Geycek | Geycek | 39.1001 | 34.4767 |  |  |  |  | 10 | 30000 |  | Enercon | E82/3000 | 85 | Polat Enerji | EDF renewables | #ND | 2014
Kirsehir | Geycek | Geycek | 39.1001 | 34.4767 |  |  |  |  | 31 | 62000 |  | Enercon | E82/2000 | 85 | Polat Enerji | EDF renewables | #ND | 2014
Kocaeli | Gökdag | Gökdag | #ND | #ND |  |  |  |  | 6 | 10200 |  | GE Energy | 1.7-103 | #ND | #ND | #ND | #ND | 2018
Konya | #ND | Baglar RES | #ND | #ND |  |  |  |  | 19 | 62700 |  | Siemens-Gamesa | #ND | #ND | #ND | #ND | #ND
Konya | #ND | Akdag | #ND | #ND |  |  |  |  | 9 | 23625 |  | Gamesa | G126/2625 | #ND | #ND | #ND | #ND | 2018
Konya | #ND | Ardicli | #ND | #ND |  |  |  |  | 16 | 52800 |  | Gamesa | G132/3300 | #ND | Sancak Enerji | #ND | #ND | 2018
Konya | #ND | Baglar (Sancak) | #ND | #ND |  |  |  |  | 20 | 66000 |  | Gamesa | G132/3300 | #ND | Sancak Enerji | #ND | #ND | #ND
Konya | #ND | Baglar RES | #ND | #ND |  |  |  |  | 12 | 39600 |  | Siemens-Gamesa | #ND | #ND | #ND | #ND | #ND | #ND
Malatya | #ND | Arapkir RES | #ND | #ND |  |  |  |  | 3 | 11700 |  | Nordex | N131/3900 | #ND | #ND | #ND | #ND | #ND
Manisa | #ND | Soma 1 | 39.18 | 27.6 |  |  |  |  | 89 | 80100 |  | Enercon | E44/900 | #ND | Polat Enerji | EDF renewables | EDF renewables | 2011
Manisa | #ND | Kuyucak | 39.11 | 27.67 |  |  |  |  | 12 | 24000 |  | Enercon | E82/2000 | 83 | Demirer Holding | Alize | #ND | 2010
Manisa | #ND | Kuyucak | 39.11 | 27.67 |  |  |  |  | 5 | 15000 |  | Enercon | E82/3000 | 83 | Demirer Holding | Alize | #ND | 2015/09
Manisa | #ND | Soma 2 | 39.18 | 27.6 |  |  |  |  | 30 | 60000 |  | Enercon | E70/2000 | #ND | Polat Enerji | EDF renewables | EDF renewables | 2012
Manisa | #ND | Kuyucak | 39.11 | 27.67 |  |  |  |  | 2 | 1800 |  | Enercon | E44/900 | #ND | Demirer Holding | Alize | #ND | 2010
Manisa | #ND | Soma 4 | 39.18 | 27.6 |  |  |  |  | #ND | 24000 |  | Enercon | #ND | #ND | #ND | #ND | #ND | 2014
Manisa | #ND | Soma | 39.18 | 27.6 |  |  |  |  | 36 | 90000 |  | Nordex | N90/2500 | 80 | Bilgin Enerji | Bilgin Enerji | #ND | 2007
Manisa | #ND | Soma | 39.18 | 27.6 |  |  |  |  | 10 | 30000 |  | Nordex | N117/3000 | #ND | Bilgin Enerji | Bilgin Enerji | #ND | 2016
Manisa | #ND | Soma 3 | 39.18 | 27.6 |  |  |  |  | 50 | 100000 |  | Enercon | E82/2000 | #ND | Polat Enerji | EDF renewables | EDF renewables | 2015/07
Manisa | #ND | Kuyucak | 39.11 | 27.67 |  |  |  |  | 4 | 9400 |  | Enercon | E92/2350 | #ND | #ND | Alize | #ND | 2017
Manisa | Kirkagac | Kirkagac RES | 39.1054 | 27.6733 |  |  |  |  | 12 | 34200 |  | GE Energy | 2.85-103 | #ND | Gama Enerji | Garet | #ND | 2016
Manisa | Kirkagac | Kirkagac RES | 39.1054 | 27.6733 |  |  |  |  | 4 | 11400 |  | GE Energy | 2.85-103 | #ND | Gama Enerji | Garet | #ND | 2016
Mersin | #ND | Mersin I | 36.6426 | 33.4412 |  |  |  |  | 14 | 42000 |  | Vestas | V90/3000 | 80 | Agaoglu/Galata Wind | #ND | #ND | 2013
Mersin | #ND | Kurtini | #ND | #ND |  |  |  |  | 6 | 14400 |  | Nordex | N117/2400 | 91 | #ND | #ND | #ND | 2018
Mersin | #ND | Mersin II | 36.6426 | 33.4412 |  |  |  |  | 3 | 10350 |  | Vestas | V112/3450 | #ND | Agaoglu | #ND | #ND | 2017
Mersin | #ND | Mersin III | 36.6426 | 33.4412 |  |  |  |  | 3 | 10350 |  | Vestas | V112/3450 | #ND | Agaoglu | #ND | #ND | 2017
Mersin | Elmali | Elmali | #ND | #ND |  |  |  |  | 15 | 30000 |  | Vestas | V100/2000 | #ND | Peker Enerji | #ND | #ND | 2016
Mersin | Elmali | Elmali | #ND | #ND |  |  |  |  | 3 | 9900 |  | Vestas | V112/3300 | #ND | Peker Enerji | #ND | #ND | 2017
Mersin | Hilal | Hilal-2 | #ND | #ND |  |  |  |  | 3 | 9900 |  | Vestas | V112/3300 | #ND | Sanko Enerji | #ND | #ND | 2015/10
Mersin | Mut | Mut | 36.6454 | 33.4371 |  |  |  |  | 16 | 52800 |  | Vestas | V112/3300 | 80 | #ND | #ND | Borusan EnBW Enerji | 2015/05
Mugla | #ND | Datça | 36.73 | 27.69 |  |  |  |  | 28 | 22400 |  | Enercon | E48/800 | 65 | Demirer Holding | #ND | #ND | 2008
Mugla | #ND | Datça | 36.73 | 27.69 |  |  |  |  | 8 | 7200 |  | Enercon | E44/900 | 55 | Demirer Holding | #ND | #ND | 2008
Mugla | #ND | Fatma | #ND | #ND |  |  |  |  | 12 | 38400 |  | Siemens | SWT-3.2-113 | #ND | Güris | #ND | #ND | 2016/12
Mugla | #ND | Fatma | #ND | #ND |  |  |  |  | 13 | 41600 |  | Siemens | SWT-3.2-113 | #ND | Güris | #ND | #ND | 2017
Mugla | #ND | Datça | 36.73 | 27.69 |  |  |  |  | 4 | 12000 |  | Enercon | E115/3000 | #ND | #ND | #ND | #ND | 2017
Mugla | #ND | Gökzirve | #ND | #ND |  |  |  |  | #ND | 25200 |  | #ND | #ND | #ND | #ND | Karesi Enerji | #ND | #ND
Mugla | Alapinar | Alapinar | #ND | #ND |  |  |  |  | 1 | 800 |  | Enercon | #ND | #ND | #ND | #ND | #ND | #ND
Mugla | Bodrum | Karova | 37.0525 | 27.425 |  |  |  |  | #ND | 30000 |  | #ND | #ND | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2017
Mugla | Datça | Datça | 36.7262 | 27.6858 |  |  |  |  | 5 | 12500 |  | Gamesa | G114/2500 | #ND | #ND | #ND | #ND | 2018
Mugla | Geris | Geris | #ND | #ND |  |  |  |  | 4 | 12000 |  | Nordex | N117/3000 | #ND | #ND | #ND | #ND | 2017
Osmaniye | #ND | Gokcedag | 37.068 | 36.2616 |  |  |  |  | 54 | 135000 |  | GE Energy | 2.5xl | #ND | Rotor Elektrik | Rotor Elektrik/Zorlu Energy | #ND | 2009/06
Osmaniye | #ND | Saritepe RES | #ND | #ND |  |  |  |  | 20 | 57000 |  | GE Energy | 2.85-103 | #ND | #ND | Zorlu Energy | #ND | 2016
Osmaniye | #ND | Demirciler | #ND | #ND |  |  |  |  | 7 | 11900 |  | GE Energy | 1.7-103 | #ND | #ND | Zorlu Energy | #ND | 2016
Osmaniye | #ND | Demirciler | #ND | #ND |  |  |  |  | 4 | 11400 |  | GE Energy | 2.85-103 | #ND | #ND | Zorlu Energy | #ND | 2016
Osmaniye | Hasanbeyli | Hasanbeyli RES | 37.1317 | 36.553 |  |  |  |  | 20 | 50000 |  | Nordex | N100/2500 | #ND | Eksim Group | #ND | #ND | 2014/05
Sivas | #ND | Kangal RES | #ND | #ND |  |  |  |  | 17 | 34000 |  | Vestas | V110/2000 | #ND | #ND | Kangal Elektrik | #ND | 2015
Sivas | #ND | Kangal RES | #ND | #ND |  |  |  |  | 22 | 44000 |  | Vestas | V100/2000 | #ND | Wind Prospect | Kangal Elektrik | #ND | 2014/09
Sivas | #ND | Kangal RES | #ND | #ND |  |  |  |  | 25 | 50000 |  | Gamesa | G114/2000 | #ND | #ND | #ND | #ND | 2017
Sivas | Konakpinari | Konakpinari RES | 38.9047 | 37.2891 |  |  |  |  | 7 | 14700 |  | Gamesa | G114/2100 | #ND | ADO Enerji | #ND | #ND | 2016/06
Tekirdag | #ND | Dikili | #ND | #ND |  |  |  |  | 1 | 3600 |  | Senvion | 3.6M140 EBC | #ND | #ND | #ND | #ND | #ND
Tekirdag | Barbaros | Barbaros | #ND | #ND |  |  |  |  | 1 | 2850 |  | GE Energy | 2.85-103 | #ND | #ND | #ND | Türkerler Holding | 2016
Tekirdag | Barbaros | Barbaros | #ND | #ND |  |  |  |  | 3 | 9600 |  | GE Energy | 3.2-103 | #ND | #ND | #ND | Türkerler Holding | 2017
Tekirdag | Kizilcaterzi | Kizilcaterzi | 40.5871 | 26.9835 |  |  |  |  | #ND | 13600 |  | #ND | #ND | #ND | Fina Enerji | Fina Enerji | Fina Enerji | 2019
Tekirdag | Saray | Saray RES | 41.4411 | 27.9216 |  |  |  |  | 2 | 4600 |  | Enercon | E82/2300 | #ND | #ND | Saray Dök | #ND | 2012
Tekirdag | Saray | Saray RES | 41.4411 | 27.9216 |  |  |  |  | 1 | 2350 |  | Enercon | E92/2350 | #ND | #ND | Saray Dök | #ND | 2016
Tokat | Akyurt | Akyurt | 40.1671 | 36.7164 |  |  |  |  | 7 | 14700 |  | Gamesa | G114/2100 | #ND | ADO Enerji | #ND | #ND | 2016
Tokat | Berekelti | Berekelti | 40.512 | 37.2858 |  |  |  |  | 10 | 32000 |  | Siemens | SWT-3.2-113 | #ND | #ND | Kinesis Enerji | #ND | 2016
Tokat | Tokat | Tokat OSB | 40.327 | 36.4912 |  |  |  |  | 1 | 100 |  | Northel Enerji | 100 | #ND | #ND | #ND | #ND | 2015/08
Yalova | Esenköy | Esenköy | 40.6181 | 28.9577 |  |  |  |  | 9 | 32400 |  | Nordex | N117/3600 | 106 | Agaoglu | #ND | #ND | 2017
Yalova | Yalova | Yalova | 40.6549 | 29.2842 |  |  |  |  | 36 | 54000 |  | Sinovel | #ND | #ND | Aydem Renewables | #ND | #ND | 2016